ORDINANCE 135

AN ORDINANCE REGULATING THE BURNING OF SOLID FUELS IN EXTERNAL SOLID FUEL-FIRED HEATING DEVICES AND SOLID FUEL STORAGE.

THE CITY COUNCIL, CITY OF ALDEN, FREEBORN COUNTY, MINNESOTA DOES ORDAIN:

Section 1.  Definitions.

A)  “External solid fuel-fired heating device” means a device designed for external solid fuel combustion so that usable heat is derived for the interior of a building, and includes solid fuel-fired stoves, solid fuel-fired cooking stoves, and combination fuel furnaces or boiler which burn solid fuel.  Solid fuel-fired heating devices do not include natural gas-fired fireplace logs or wood-burning fireplaces or wood stoves in the interior of a dwelling.

B)  “Stacks or chimneys” means any vertical structure incorporated into a building and enclosing a flue or flues that carry off smoke or exhaust from a solid fuel-fired heating device, especially, the part of such a structure extending above a roof.

C)  “Person” means an individual, partnership, corporation, company or other association.

Section 2.  Permit Required.

- The City of Alden requires any person to obtain a zoning permit for any external solid fuel-fired heating device or external storage unit that is sold or purchased after the date this ordinance becomes effective.

Section 3.  Other Requirements Upon the Effective Date of This Ordinance:

A)  All external solid fuel-fired heating devices, used, installed, or purchased within the city limits of Alden, Minnesota, are required to meet emission standards currently required by the Environmental Protection Agency (EPA) and Underwriters Laboratories (UL) listing.  No person shall use an external solid fuel-fired heating device in violation of this paragraph.

B)  All outdoor external solid fuel-fired heating devices are subject to the terms in the building code Ordinance 125.

C)  Any dense smoke, noxious fumes, gas and soot, or cinders, in unreasonable quantities, or any use of an external solid fuel-fired heating device to burn solid fuels other than those solid fuels for which the external solid fuel-fired heating device was designed, is declared a public nuisance.

D)  All stacks or chimneys must be so constructed to withstand high winds or other related elements and according to the specifications of the manufacturer of the external solid fuel-fired heating device. The stack height shall be a minimum of 25 feet above ground level. All stacks or chimneys must be of masonry or insulated metal with a minimum six-inch flue. No person shall use an external solid fuel-fired heating device in violation of this paragraph.													CONTINUED

ORDINANCE NO. 135 – continued

E)  Only fuels designed for burning in an external solid fuel-fired heating device may be burned.  No garbage may be burned in an external solid fuel-fired heating device.  No person shall use an external solid fuel-fired heating device in violation of this paragraph.

F)  No person may use an external solid fuel-fired heating device in the City of Alden during the months of May, June, July, August and September.

G)  External storage units shall not include storage bins or wagons.  Allowed storage includes interior storage within the residence or garage, or a free-standing storage shed.

Section 4.  Penalty.

Any violation of this ordinance is a misdemeanor.  Each day a violation occurs is a separate offense.

Section 5.  Effective Date.

This ordinance shall take effect upon its passage and publication.

PASSED AND ADOPTED by the City Council of the City of Alden this 13th day of December, 2006.

Scott R. Bute

Mayor

ATTEST:

Donna J. Schmidt

Clerk/Treasurer